## Sheet1
No. (序号) | Test Scenario (测试场景) | Status (测试结果) | Execution Date (测试日期) | Technical Info (技术细节)
001 | 验证测点 [TEM_LLN0_V_PhaseA] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Voltage ¦ Point: TEM_LLN0_V_PhaseA
002 | 验证测点 [TEM_LLN0_V_PhaseB] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Voltage ¦ Point: TEM_LLN0_V_PhaseB
003 | 验证测点 [TEM_LLN0_V_PhaseC] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Voltage ¦ Point: TEM_LLN0_V_PhaseC
004 | 验证测点 [TEM_LLN0_I_PhaseA] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Current ¦ Point: TEM_LLN0_I_PhaseA
005 | 验证测点 [TEM_LLN0_I_PhaseB] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Current ¦ Point: TEM_LLN0_I_PhaseB
006 | 验证测点 [TEM_LLN0_I_PhaseC] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Current ¦ Point: TEM_LLN0_I_PhaseC
007 | 验证测点 [TEM_LLN0_Hz] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Freq ¦ Point: TEM_LLN0_Hz
008 | 验证测点 [TEM_LLN0_P] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Power ¦ Point: TEM_LLN0_P
009 | 验证测点 [TEM_TTMP_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Temp ¦ Point: TEM_TTMP_1
010 | 验证测点 [TEM_HUM_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Humid ¦ Point: TEM_HUM_1
011 | 验证测点 [POS_CSWI_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Switch ¦ Point: POS_CSWI_1
012 | 验证测点 [POS_CSWI_2] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Switch ¦ Point: POS_CSWI_2
013 | 验证测点 [ALM_GGIO_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Alarm ¦ Point: ALM_GGIO_1
014 | 验证测点 [LCK_GGIO_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Lock ¦ Point: LCK_GGIO_1
015 | 验证测点 [MOD_LLN0] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Mode ¦ Point: MOD_LLN0
016 | 验证测点 [ERR_SIG_1] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Error ¦ Point: ERR_SIG_1
017 | 验证测点 [LATENCY_MS] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Comm ¦ Point: LATENCY_MS
018 | 验证测点 [FAILED_ATTEMPTS] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Auth ¦ Point: FAILED_ATTEMPTS
019 | 验证测点 [RLY_STAT] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Relay ¦ Point: RLY_STAT
020 | 验证测点 [BAT_SOC] 的端到端同步一致性 | STRICT_CHECK_REQUIRED | 2026-03-25 01:19:44 | Type: Health ¦ Point: BAT_SOC